## Consumables
This spreadsheet lists all consumables needed to perform NOMADS-MVP for: |  |  |  | 1000 | samples
DNA Extraction is NOT included. Recommended is DNA extraction with Qiagen.
Item | Manufacturer | Catalog # | Pack Size | Unit Cost ($) | Units Needed | Cost ($) | Notes
Reagents
Qiagen QIAmp
KAPA HIFI ReadyMix | Roche | KK2602 | 6.25 ml | 276.2 | 4 | 1104.8
PCR Primers: NOMADS-MVP | IDT | N/A | 3000 rxn | 120 | 1 | 120
AMPure XP beads | Beckman Coulter | A63881 | 60 ml | 1485.2 | 1 | 1485.2 | This is sufficient for >4500 samples; but we choose the larger volume as it is cheaper per unit volume.
Qubit 1x dsDNA HS Assay Kit | ThermoFisher | Q33231 | 500 rxn | 385.94 | 3 | 1157.82
Agarose | ThermoFisher | 16500500 | 500 gram | 675 | 1 | 675
DNA ladder (1kb) | ThermoFisher | SM0314 | 100 lanes | 64.99 | 1 | 64.99
Gel loading dye | NEB | B7024S | 4 ml | 58.86 | 1 | 58.86
Rapid Barcoding Sequencing Kit 96 v14 | ONT | SQK-RBK114.96 | 12 rxn | 1301 | 2 | 2602
Flow Cell Priming Kit V14 (EXP-FLP004) | ONT | EXP-FLP004 | 6 rxns | 41.4 | 2 | 82.8
Flow Cell Wash Kit | ONT | EXP-WSH004 | 6 washes | 147.86 | 2 | 295.72
MinION Flow Cell (R10.4.1) | ONT | FLO-MIN114 | flow cell | 600 | 12 | 7200
Ethanol | Sigma | E7024-500ML | 500 ml | 42.61 | 2 | 85.22
Nuclease free water | Invitrogen | AM9937 | 500 ml | 155.19 | 1 | 155.19
TE buffer (1X) pH 8.0 low EDTA | ThermoFisher | J75793.AP | 500 ml | 120 | 1 | 120
[5 empty] | Sub-Total: | 15207.6
[5 empty] | Per sample cost (reagents): | 15.2076
Plasticware
1.5 ml DNA LoBind tubes | Eppendorf | 0030 108.051 | 250 tubes | 22.21 | 1 | 22.21
100ml reservoir | ThermoFisher | 10125707 | 100 case | 91.43 | 1 | 91.43
Adhesive seal sheets | Greiner | 676001 | 100 seals | 88.88 | 1 | 88.88
Gloves | Handsafe | GN90-L | 2000 gloves | 88.01 | 3 | 264.03
PCR tubes strips with cap (8 well strip) | ThermoFisher | AB2005 | 2000 wells | 298.26 | 1 | 298.26
Plates 96 well (skirted) | ThermoFisher | AB-0800 | 25 plates | 130 | 4 | 520
Qubit Assay Tubes | Invitrogen | Q32856 | 500 tubes | 74.55 | 3 | 223.65
Sharpie markers | Stabilo | 01-19-2763 | 10 per pack | 40 | 1 | 40
Tips 10ul | - | - | 50 x 96 tip rack | 396.29 | 1 | 396.29 | Please order appropriate tips for the single-channel and multichannel pipettes in your lab
Tips 20ul | - | - | 10 x 96 tip rack | 100 | 14 | 1400 | Please order appropriate tips for the single-channel and multichannel pipettes in your lab
Tips 200ul | - | - | 10 x 96 tip rack | 64.27 | 1 | 64.27 | Please order appropriate tips for the single-channel and multichannel pipettes in your lab
Tips 1000ul | - | - | 10 x 96 tip rack | 83.6 | 1 | 83.6 | Please order appropriate tips for the single-channel and multichannel pipettes in your lab
Assumptions: |  |  |  |  | Sub-Total: | 3492.62
- Costs are from Carramore quotes from 2024-2025 |  |  |  |  | Per sample cost (plasticware): | 3.4926
- 48 samples per run, 2 runs per flow cell, 10% reagent overage
- Shipping and import duties are NOT included in the above
[5 empty] | Total | 18700.22
[5 empty] | Per sample cost | 18.7002

## Consumables 2k samples (hidden)
This spreadsheet lists all consumables needed to perform NOMADS-MVP for 2,000 samples.
DNA Extraction is NOT included. Recommended is DNA extraction with Qiagen.
Item | Manufacturer | Catalog # | Pack Size | Unit Cost ($) | Units Needed | Cost ($) | Notes
Reagents | [8 empty] | 2000 (original | 2000 (now) | Difference | 1000
KAPA HIFI ReadyMix | Roche | KK2602 | 6.25 ml | 276.2 | 4 | 1104.8 |  | KAPA HIFI ReadyMix | 6 | 7 | 3 | 4 | 1.5 ml DNA LoBind tubes | 15
PCR Primers: NOMADS-MVP | IDT | N/A | 3000 rxn | 120 | 1 | 120 |  | PCR Primers: MVP | 1 | 1 | 0 | 1 | 100ml reservoir | 16
AMPure XP beads | Beckman Coulter | A63881 | 60 ml | 1485.2 | 1 | 1485.2 | This is sufficient for >4500 samples; but we choose the larger volume as it is cheaper per unit volume. | AMPure XP beads | 1 | 1 | 0 | 1 | Adhesive seal sheets | 17
Qubit 1x dsDNA HS Assay Kit | ThermoFisher | Q33231 | 500 rxn | 385.94 | 3 | 1157.82 |  | Qubit 1x dsDNA HS Assay Kit | 5 | 5 | 2 | 3 | Agarose | 5
Agarose | ThermoFisher | 16500500 | 500 gram | 675 | 1 | 675 |  | Agarose | 1 | 1 | 0 | 1 | AMPure XP beads | 3
DNA ladder (1kb) | ThermoFisher | SM0314 | 100 lanes | 64.99 | 1 | 64.99 |  | DNA ladder (1kb) | 2 | 2 | 1 | 1 | DNA ladder (1kb) | 6
Gel loading dye | NEB | B7024S | 4 ml | 58.86 | 1 | 58.86 |  | Gel loading dye | 1 | 1 | 0 | 1 | Ethanol | 12
Rapid Barcoding Sequencing Kit 96 v14 | ONT | SQK-RBK114.96 | 12 rxn | 1301 | 2 | 2602 |  | Rapid Barcoding Sequencing Kit 96 v14 | 4 | 4 | 2 | 2 | Flow Cell Priming Kit V14 (EXP-FLP004) | 9
Flow Cell Priming Kit V14 (EXP-FLP004) | ONT | EXP-FLP004 | 6 rxns | 41.4 | 2 | 82.8 |  | Flow Cell Priming Kit V14 (EXP-FLP004) | 4 | 4 | 2 | 2 | Flow cell wash kit | 10
Flow Cell Wash Kit | ONT | EXP-WSH004 | 6 washes | 147.86 | 2 | 295.72 |  | Flow cell wash kit | 4 | 4 | 2 | 2 | Gel loading dye | 7
MinION Flow Cell (R10.4.1) | ONT | FLO-MIN114 | flow cell | 600 | 12 | 7200 |  | MinION Flow Cell (R10.4.1) | 21 | 23 | 11 | 12 | Gloves Nitrile Large (powder-free) | 18
Ethanol | Sigma | E7024-500ML | 500 ml | 42.61 | 2 | 85.22 |  | Ethanol | 2 | 3 | 1 | 2 | Gloves Nitrile Medium (powder-free) | 18
Nuclease free water | Invitrogen | AM9937 | 500 ml | 155.19 | 1 | 155.19 |  | Nuclease free water | 1 | 1 | 0 | 1 | Gloves Nitrile Small (powder-free) | 18
TE buffer (1X) pH 8.0 low EDTA | ThermoFisher | J75793.AP | 500 ml | 120 | 1 | 120 |  | TE buffer (1X) pH 8.0 low EDTA | 1 | 1 | 0 | 1 | KAPA HIFI ReadyMix | 1
[5 empty] | Sub-Total: | 15207.6 | [6 empty] | MinION Flow Cell (R10.4.1) | 11
[5 empty] | Per sample cost (reagents): | 7.6038 | [6 empty] | Nuclease free water | 13
Plasticware | [12 empty] | PCR Primers: MVP | 2
1.5 ml DNA LoBind tubes | Eppendorf | 0030 108.051 | 250 tubes | 22.21 | 1 | 22.21 |  | 1.5 ml DNA LoBind tubes | 1 | 1 | 0 | 1 | PCR tubes strips with cap (8 well strip) | 19
100ml reservoir | ThermoFisher | 10125707 | 100 case | 91.43 | 1 | 91.43 |  | 100ml reservoir | 1 | 1 | 0 | 1 | Plates 96 well (skirted) | 20
Adhesive seal sheets | Greiner | 676001 | 100 seals | 88.88 | 1 | 88.88 |  | Adhesive seal sheets | 2 | 2 | 1 | 1 | Qubit 1x dsDNA HS Assay Kit | 4
Gloves | Handsafe | GN90-L | 2000 gloves | 88.01 | 3 | 264.03 |  | Gloves Nitrile Large (powder-free) | 3 | 3 | 0 | 3 | Qubit Assay Tubes | 21
PCR tubes strips with cap (8 well strip) | ThermoFisher | AB2005 | 2000 wells | 298.26 | 1 | 298.26 |  | PCR tubes strips with cap (8 well strip) | 1 | 1 | 0 | 1 | Rapid Barcoding Sequencing Kit 96 v14 | 8
Plates 96 well (skirted) | ThermoFisher | AB-0800 | 25 plates | 130 | 4 | 520 | Please order appropriate plates for the PCR machine(s) AND magnetic rack in your lab (see Equipment tab). | Plates 96 well (skirted) | 7 | 8 | 4 | 4 | Sharpie markers | 22
Qubit Assay Tubes | Invitrogen | Q32856 | 500 tubes | 74.55 | 3 | 223.65 |  | Qubit Assay Tubes | 5 | 5 | 2 | 3 | TE buffer (1X) pH 8.0 low EDTA | 14
Sharpie markers | Stabilo | 01-19-2763 | 10 per pack | 40 | 1 | 40 |  | Sharpie markers | 1 | 1 | 0 | 1 | Tips 10ul filtered | 23
Tips 10ul | - | - | 50 x 96 tip rack | 396.29 | 1 | 396.29 | Please order appropriate tips for the single-channel and multichannel pipettes in your lab | Tips 10ul filtered | 1 | 1 | 0 | 1 | Tips 200ul filtered | 25
Tips 20ul | - | - | 10 x 96 tip rack | 100 | 14 | 1400 | Please order appropriate tips for the single-channel and multichannel pipettes in your lab | Tips 20ul Racked (Filter) | 31 | 28 | 14 | 14 | Tips 20ul Racked (Filter) | 24
Tips 200ul | - | - | 10 x 96 tip rack | 64.27 | 8 | 514.16 | Please order appropriate tips for the single-channel and multichannel pipettes in your lab | Tips 200ul filtered | 18 | 15 | 7 | 8 | Tips Filter 1000ul racked | 26
Tips 1000ul | - | - | 10 x 96 tip rack | 83.6 | 1 | 83.6 | Please order appropriate tips for the single-channel and multichannel pipettes in your lab | Tips Filter 1000ul racked | 4 | 1 | 0 | 1
Assumptions: |  |  |  |  | Sub-Total: | 3942.51 |  |  | 32141.38 | 33046.58
- Costs are from Carramore quotes from 2024-2025 |  |  |  |  | Per sample cost (plasticware): | 1.9713
- 48 samples per run, 2 runs per flow cell, 10% reagent overage
- Shipping and import duties are NOT included in the above
[5 empty] | Total | 19150.11
[5 empty] | Per sample cost | 19.1501

## Equipment
This spreadsheet lists equipment needed to perform NOMADS sequencing
Lab space / room
Application | Item | Clean1 | Sample2 | Sequence3 | # required | # present | # to procure | Notes
Quantify DNA Concentration | Qubit 4 Fluorometer |  |  | X | 1 |  | 1
Sequence Nucleic Acids | MinIon |  |  | X | 1 |  | 1
Store and process sequencing runs | Laptop with Nvidia GPU |  |  | X | 1 |  | 1
Storage of experimental data | 5 Tb (or >) Storage Drive |  |  | X | 1 |  | 1
Retention of magnetic beads during DNA cleaning | Magnet for 96-well plates |  |  | X | 1 |  | 1
Retention of magnetic beads during DNA cleaning | Magnet for tubes |  |  | X | 1 |  | 1
Store reagents at -20oC | Freezer | X |  |  | 1 |  | 1
Store reagents at -4oC | Fridge | X |  |  | 1 |  | 1
Extract DNA through centrifugation | Microcentrifuge - 1.5ml tubes |  | X | X | 2 |  | 2
Extract DNA through centrifugation | Microcentrifuge - plate and strips |  | X | X | 2 |  | 2
Mix solutions/reactions | Vortex | X | X | X | 3 |  | 3
PCR amplification | Thermal Cycler |  |  | X | 1 |  | 1
Contained area to minimise contamination | Hood | X | X | X | 3 |  | 3
Size separation of DNA by gel electrophoresis | Electrophoresis Tank |  |  | X | 1 |  | 1
Provides voltage for running a gel | Power pack |  |  | X | 1 |  | 1
QC documentation of amplification steps | Gel Imaging |  |  | X | 1 |  | 1
Transfer of liquids | P20 Multichannel Pipette |  | X | X | 2 |  | 2
Transfer of liquids | P200 Multichannel Pipette |  | X | X | 2 |  | 2
Maintains temperature on the bench | Cold Block (tubes) |  | X |  | 1 |  | 1
Maintains temperature on the bench | Cold Block (plates) |  |  | X | 1 |  | 1
1 Preparation of all master mixes free from any DNA / RNA contaminants
2 Extraction of DNA from samples and preparation for PCR amplification
3 PCR amplification and library preparation for sequencing
4 Recommend Nvidia GPU with 16Gb GPU RAM and then minimum of i7 or equivalent processor, 32 Gb general RAM and 1Tb solid state drive

## NOMADS-MVP Primers
Name | Sequence | Quantity to order (nmole) | Formulation
ama1-d2-18-ck_v43_F | CAACACGCATATCCAATAGACCA | 25nm | STD
ama1-d2-18-ck_v43_R | TGATCCGAAGCACTCAATTCAA | 25nm | STD
crt-k76_v27_F | AGCAAAAATGACGAGCGTTATAGA | 25nm | STD
crt-k76_v27_R | AGCTTCGGTGTCGTTCCTAAA | 25nm | STD
csp-rtss-repeat_v4_F | TCGCAAACGTAATTAAATATTCACAAA | 25nm | STD
csp-rtss-repeat_v4_R | CCTTATTCCAGGAATACCAGTGC | 25nm | STD
dhfr-p51-p164_v19_F | CCATTTTTGTATTCCCAAATAGCTAGT | 25nm | STD
dhfr-p51-p164_v19_R | TCCCTAGTACCATTAGCTTCCCA | 25nm | STD
dhps-p436-p613_v55_F | TCCATTCCTCATGTGTATACAACA | 25nm | STD
dhps-p436-p613_v55_R | TGTTTAATCACATGTTTGCACTTTCC | 25nm | STD
hrp2-exon2-complete_v26_F | TCGCTATCCCATAAATTACAAAACA | 25nm | STD
hrp2-exon2-complete_v26_R | CCGTTTTTGCCTCCGTACTT | 25nm | STD
hrp3-exon2-complete_v21_F | AGACAGTAGAAAAATCGCTATCCT | 25nm | STD
hrp3-exon2-complete_v21_R | GCCGTTTTTGCTTCCGTACTT | 25nm | STD
kelch13-cterm_v5_F | AAGGGAAAATCATAAACAATCAAGT | 25nm | STD
kelch13-cterm_v5_R | GGAAGACATCATGTAACCAGAGA | 25nm | STD
mdr1-p1034-p1246_v19_F | GCGGAGTTTTTGCATTTAGTTCAG | 25nm | STD
mdr1-p1034-p1246_v19_R | CCAATGTTGCATCTTCTCTTCCA | 25nm | STD
mdr1-p86-p184_v26_F | CGTTTAAATGTTTACCTGCACAACA | 25nm | STD
mdr1-p86-p184_v26_R | ACTTGCAACAGTTCTTATTCCCA | 25nm | STD