## Ligation_sWGA
This spreadsheet lists all commodities needed to perform NOMADS sequencing by ligation with sWGA of samples:
[6 empty] | For 100 rxn |  | For 400 rxn
Item | Manufacturer | Manufacturer Catalog # | Unit Number | Unit volume | Unit Cost ($) | Units Needed | Cost ($) | Units Needed | Cost ($) | Notes
1.5 ml DNA LoBind tubes | Eppendorf | 0030 108.051 | 250 | tubes | 18.97 | 8 | 151.76 | 19 | 360.43
10 mM dNTP solution | ThermoFisher | R0192 | 1000 | ul | 129.65 | 3 | 388.95 | 6 | 777.9
100ml reservoir | ThermoFisher | 10125707 | 100 | case | 248 | 1 | 248 | 1 | 248
Adhesive seal sheets | Greiner | 676001 | 9600 | plate wells | 38.52 | 1 | 38.52 | 1 | 38.52
Agarose | ThermoFisher | 16500500 | 500 | gram | 675 | 1 | 675 | 1 | 675
AMPure XP beads | Beckman Coulter | A63881 | 60 | ml | 1485.2 | 1 | 1485.2 | 1 | 1485.2
DNA ladder (1kb) | ThermoFisher | SM0314 | 100 | lanes | 64.99 | 2 | 129.98 | 5 | 324.95
Equiphi29 DNA polymerase (small) | ThermoFisher | A39391 | 100 | ul | 386.24 | 5 | 1931.2 | 12 | 4634.88
Ethanol | Sigma | E7024-500ML | 500 | ml | 42.61 | 1 | 42.61 | 2 | 85.22
Flow Cell Priming Kit V14 (EXP-FLP004) | ONT | EXP-FLP004 | 6 | rxns | 35.04 | 1 | 35.04 | 2 | 70.08
Flow cell wash kit | ONT | EXP-WSH004 | 6 | washes | 99.1 | 1 | 99.1 | 2 | 198.2
Gel loading dye | NEB | B7024S | 4 | ml | 58.86 | 2 | 117.72 | 4 | 235.44
Gloves Nitrile Large (powder-free) | Handsafe | GN90-L | 2000 | gloves | 88.01 | 1 | 88.01 | 1 | 88.01
Gloves Nitrile Medium (powder-free) | Handsafe | GN90-M | 2000 | gloves | 88.01 | 1 | 88.01 | 1 | 88.01
Gloves Nitrile Small (powder-free) | Handsafe | GN90-S | 2000 | gloves | 88.01 | 1 | 88.01 | 1 | 88.01
KAPA HIFI ReadyMix | Roche | KK2602 | 6250 | ul | 1064.21 | 2 | 2128.42 | 3 | 3192.63
MinION Flow Cell (R10.4.1) | ONT | FLO-MIN114 | 1 | flow cells | 700.7 | 5 | 3503.5 | 11 | 7707.7
Native Barcoding Kit 96 V14 (SQK-NBD114.96) | ONT | SQK-NBD114.96 | 1152 | rxn | 799 | 1 | 799 | 1 | 799
NEBNext Quick Ligation Module | NEB | E6056L | 100 | rxn | 1839.34 | 1 | 1839.34 | 1 | 1839.34
NEBnext Ultra II DNA Library prep kit with purification beads | NEB | E7103L | 96 | rxn | 2754 | 1 | 2754 | 3 | 8262 | All NOMADS primer sets are compatible
Nuclease free water | Invitrogen | AM9937 | 500 | ml | 155.19 | 1 | 155.19 | 1 | 155.19
PCR Primers: MVP | IDT | N/A | 3000 | rxn | 120 | 1 | 120 | 1 | 120
PCR tubes strips with cap (8 well strip) | ThermoFisher | AB2005 | 2000 | wells | 354 | 2 | 708 | 4 | 1416
Pf SWGA Primers | IDT | N/A | 10000 | ul | 300 | 1 | 300 | 1 | 300
Plates 96 well (skirted) | ThermoFisher | AB-0800 | 2400 | plate wells | 115.94 | 2 | 231.88 | 5 | 579.7
Qubit 1x dsDNA HS Assay Kit | ThermoFisher | Q33231 | 500 | rxn | 444.32 | 2 | 888.64 | 3 | 1332.96
Qubit Assay Tubes | Invitrogen | Q32856 | 500 | tubes | 111.41 | 2 | 222.82 | 3 | 334.23
Sharpie markers | Stabilo | 01-19-2763 | 10 | per pack | 15.89 | 1 | 15.89 | 1 | 15.89
TE buffer (1X) pH 8.0 low EDTA | ThermoFisher | J75793.AP | 500 | ml | 120 | 1 | 120 | 1 | 120
Tips 10ul filtered | Neptune | BT10-XL | 4800 | tips | 396.29 | 1 | 396.29 | 1 | 396.29 | Please order appropriate tips for the pipettes in your lab
Tips 200ul filtered | Neptune | BT200 | 4800 | tips | 396.29 | 2 | 792.58 | 3 | 1188.87 | Please order appropriate tips for the pipettes in your lab
Tips 200ul Racked (Filter, Pipet-Lite) | Mettler Toledo | TR-L200F | 960 | tips | 192.32 | 6 | 1153.92 | 14 | 2692.48 | Please order appropriate tips for the pipettes in your lab
Tips 20ul Racked (Filter) | Neptune | BT20 | 4800 | tips | 396.29 | 1 | 396.29 | 1 | 396.29 | Please order appropriate tips for the pipettes in your lab
Tips 20ul Racked (Filter, Pipet-Lite) | Mettler Toledo | TR-L10F | 960 | tips | 192.32 | 8 | 1538.56 | 18 | 3461.76 | Please order appropriate tips for the pipettes in your lab
Tips Filter 1000ul racked | Neptune | BT1250 | 3072 | tips | 358.54 | 1 | 358.54 | 1 | 358.54 | Please order appropriate tips for the pipettes in your lab
[6 empty] | Total | 24029.97 | Total | 44066.72
Assumptions:
48 samples per run and 2 runs per flow cell

## Ligation_NosWGA
This spreadsheet lists all commodities needed to perform NOMADS sequencing by ligation without sWGA of samples
[6 empty] | For 100 rxn |  | For 400 rxn
Item | Manufacturer | Manufacturer Catalog # | Unit Number | Unit volume | Unit Cost ($) | Units Needed | Cost ($) | Units Needed | Cost ($) | Notes
1.5 ml DNA LoBind tubes | Eppendorf | 0030 108.051 | 250 | tubes | 18.97 | 1 | 18.97 | 4 | 75.88
100ml reservoir | ThermoFisher | 10125707 | 100 | case | 248 | 1 | 248 | 1 | 248
Adhesive seal sheets | Greiner | 676001 | 9600 | plate wells | 38.52 | 1 | 38.52 | 1 | 38.52
Agarose | ThermoFisher | 16500500 | 500 | gram | 675 | 1 | 675 | 1 | 675
AMPure XP beads | Beckman Coulter | A63881 | 60 | ml | 1485.2 | 1 | 1485.2 | 1 | 1485.2
DNA ladder (1kb) | ThermoFisher | SM0314 | 100 | lanes | 64.99 | 1 | 64.99 | 2 | 129.98
Ethanol | Sigma | E7024-500ML | 500 | ml | 42.61 | 1 | 42.61 | 1 | 42.61
Flow Cell Priming Kit V14 (EXP-FLP004) | ONT | EXP-FLP004 | 6 | rxns | 35.04 | 1 | 35.04 | 1 | 35.04
Flow cell wash kit | ONT | EXP-WSH004 | 6 | washes | 99.1 | 1 | 99.1 | 1 | 99.1
Gel loading dye | NEB | B7024S | 4 | ml | 58.86 | 1 | 58.86 | 2 | 117.72
Gloves Nitrile Large (powder-free) | Handsafe | GN90-L | 2000 | gloves | 88.01 | 1 | 88.01 | 1 | 88.01
Gloves Nitrile Medium (powder-free) | Handsafe | GN90-M | 2000 | gloves | 88.01 | 1 | 88.01 | 1 | 88.01
Gloves Nitrile Small (powder-free) | Handsafe | GN90-S | 2000 | gloves | 88.01 | 1 | 88.01 | 1 | 88.01
KAPA HIFI ReadyMix | Roche | KK2602 | 6250 | ul | 1064.21 | 1 | 1064.21 | 2 | 2128.42
MinION Flow Cell (R10.4.1) | ONT | FLO-MIN114 | 1 | flow cells | 700.7 | 2 | 1401.4 | 5 | 3503.5
Native Barcoding Kit 96 V14 (SQK-NBD114.96) | ONT | SQK-NBD114.96 | 1152 | rxn | 799 | 1 | 799 | 1 | 799
NEBNext Quick Ligation Module | NEB | E6056L | 100 | rxn | 1839.34 | 1 | 1839.34 | 1 | 1839.34
NEBnext Ultra II DNA Library prep kit with purification beads | NEB | E7103L | 96 | rxn | 2754 | 1 | 2754 | 1 | 2754
Nuclease free water | Invitrogen | AM9937 | 500 | ml | 155.19 | 1 | 155.19 | 1 | 155.19
PCR Primers | IDT | N/A | 3000 | rxn | 120 | 1 | 120 | 1 | 120 | All NOMADS primer sets are compatible
PCR tubes strips with cap (8 well strip) | ThermoFisher | AB2005 | 2000 | wells | 354 | 1 | 354 | 2 | 708
Plates 96 well (skirted) | ThermoFisher | AB-0800 | 2400 | plate wells | 115.94 | 1 | 115.94 | 2 | 231.88
Qubit 1x dsDNA HS Assay Kit | ThermoFisher | Q33231 | 500 | rxn | 444.32 | 1 | 444.32 | 1 | 444.32
Qubit Assay Tubes | Invitrogen | Q32856 | 500 | tubes | 111.41 | 1 | 111.41 | 1 | 111.41
Sharpie markers | Stabilo | 01-19-2763 | 10 | per pack | 15.89 | 1 | 15.89 | 1 | 15.89
TE buffer (1X) pH 8.0 low EDTA | ThermoFisher | J75793.AP | 500 | ml | 120 | 1 | 120 | 1 | 120
Tips 10ul filtered | Neptune | BT10-XL | 4800 | tips | 396.29 | 1 | 396.29 | 1 | 396.29 | Please order appropriate tips for the pipettes in your lab
Tips 200ul filtered | Neptune | BT200 | 4800 | tips | 396.29 | 1 | 396.29 | 1 | 396.29 | Please order appropriate tips for the pipettes in your lab
Tips 200ul Racked (Filter, Pipet-Lite) | Mettler Toledo | TR-L200F | 960 | tips | 192.32 | 2 | 384.64 | 6 | 1153.92 | Please order appropriate tips for the pipettes in your lab
Tips 20ul Racked (Filter) | Neptune | BT20 | 4800 | tips | 396.29 | 1 | 396.29 | 1 | 396.29 | Please order appropriate tips for the pipettes in your lab
Tips 20ul Racked (Filter, Pipet-Lite) | Mettler Toledo | TR-L10F | 960 | tips | 192.32 | 2 | 384.64 | 8 | 1538.56 | Please order appropriate tips for the pipettes in your lab
Tips Filter 1000ul racked | Neptune | BT1250 | 3072 | tips | 358.54 | 1 | 358.54 | 1 | 358.54 | Please order appropriate tips for the pipettes in your lab
[6 empty] | Total | 14641.71 | Total | 20381.92
Assumptions:
48 samples per run and 2 runs per flow cell

## Rapid_no_sWGA
This spreadsheet lists all commodities needed to perform NOMADS sequencing by rapid barcoding without sWGA of samples
[6 empty] | For 100 rxn |  | For 400 rxn
Item | Manufacturer | Manufacturer Catalog # | Unit Number | Unit volume | Unit Cost ($) | Units Needed | Cost ($) | Units Needed | Cost ($) | Notes
1.5 ml DNA LoBind tubes | Eppendorf | 0030 108.051 | 250 | tubes | 18.97 | 1 | 18.97 | 4 | 75.88
100ml reservoir | ThermoFisher | 10125707 | 100 | case | 248 | 1 | 248 | 1 | 248
Adhesive seal sheets | Greiner | 676001 | 9600 | plate wells | 38.52 | 1 | 38.52 | 1 | 38.52
Agarose | ThermoFisher | 16500500 | 500 | gram | 675 | 1 | 675 | 1 | 675
AMPure XP beads | Beckman Coulter | A63881 | 60 | ml | 1485.2 | 1 | 1485.2 | 1 | 1485.2
DNA ladder (1kb) | ThermoFisher | SM0314 | 100 | lanes | 64.99 | 1 | 64.99 | 2 | 129.98
Ethanol | Sigma | E7024-500ML | 500 | ml | 42.61 | 1 | 42.61 | 1 | 42.61
Flow Cell Priming Kit V14 (EXP-FLP004) | ONT | EXP-FLP004 | 6 | rxns | 35.04 | 1 | 35.04 | 1 | 35.04
Flow cell wash kit | ONT | EXP-WSH004 | 6 | washes | 99.1 | 1 | 99.1 | 1 | 99.1
Gel loading dye | NEB | B7024S | 4 | ml | 58.86 | 1 | 58.86 | 2 | 117.72
Gloves Nitrile Large (powder-free) | Handsafe | GN90-L | 2000 | gloves | 88.01 | 1 | 88.01 | 1 | 88.01
Gloves Nitrile Medium (powder-free) | Handsafe | GN90-M | 2000 | gloves | 88.01 | 1 | 88.01 | 1 | 88.01
Gloves Nitrile Small (powder-free) | Handsafe | GN90-S | 2000 | gloves | 88.01 | 1 | 88.01 | 1 | 88.01
KAPA HIFI ReadyMix | Roche | KK2602 | 6250 | ul | 1064.21 | 1 | 1064.21 | 2 | 2128.42
MinION Flow Cell (R10.4.1) | ONT | FLO-MIN114 | 1 | flow cells | 700.7 | 2 | 1401.4 | 5 | 3503.5
Nuclease free water | Invitrogen | AM9937 | 500 | ml | 155.19 | 1 | 155.19 | 1 | 155.19
PCR Primers | IDT | N/A | 3000 | rxn | 120 | 1 | 120 | 1 | 120 | Recommend NOMADS MVP primers for this assay
PCR tubes strips with cap (8 well strip) | ThermoFisher | AB2005 | 2000 | wells | 354 | 1 | 354 | 2 | 708
Plates 96 well (skirted) | ThermoFisher | AB-0800 | 2400 | plate wells | 115.94 | 1 | 115.94 | 2 | 231.88
Qubit 1x dsDNA HS Assay Kit | ThermoFisher | Q33231 | 500 | rxn | 444.32 | 1 | 444.32 | 1 | 444.32
Qubit Assay Tubes | Invitrogen | Q32856 | 500 | tubes | 111.41 | 1 | 111.41 | 1 | 111.41
Rapid Barcoding Sequencing Kit 96 v14 | ONT | SQK-RBK114.96 | 12 | rxn | 990.99 | 1 | 990.99 | 1 | 990.99
Sharpie markers | Stabilo | 01-19-2763 | 10 | per pack | 15.89 | 1 | 15.89 | 1 | 15.89
TE buffer (1X) pH 8.0 low EDTA | ThermoFisher | J75793.AP | 500 | ml | 120 | 1 | 120 | 1 | 120
Tips 10ul filtered | Neptune | BT10-XL | 4800 | tips | 396.29 | 1 | 396.29 | 1 | 396.29 | Please order appropriate tips for the pipettes in your lab
Tips 200ul filtered | Neptune | BT200 | 4800 | tips | 396.29 | 1 | 396.29 | 1 | 396.29 | Please order appropriate tips for the pipettes in your lab
Tips 200ul Racked (Filter, Pipet-Lite) | Mettler Toledo | TR-L200F | 960 | tips | 192.32 | 2 | 384.64 | 6 | 1153.92 | Please order appropriate tips for the pipettes in your lab
Tips 20ul Racked (Filter) | Neptune | BT20 | 4800 | tips | 396.29 | 1 | 396.29 | 1 | 396.29 | Please order appropriate tips for the pipettes in your lab
Tips 20ul Racked (Filter, Pipet-Lite) | Mettler Toledo | TR-L10F | 960 | tips | 192.32 | 2 | 384.64 | 6 | 1153.92 | Please order appropriate tips for the pipettes in your lab
Tips Filter 1000ul racked | Neptune | BT1250 | 3072 | tips | 358.54 | 1 | 358.54 | 1 | 358.54 | Please order appropriate tips for the pipettes in your lab
[6 empty] | Total | 10240.36 | Total | 15595.93
Assumptions:
48 samples per run and 2 runs per flow cell

## Equipment
This spreadsheet lists equipment needed to perform NOMADS sequencing
Lab Space / Room
Item | Application | Minimum viability | Est. Cost ($) | # required | # available | Clean1 | Sample2 | Sequence3
Freezer | Store temperature sensitive enzymes | Maintains temperature in range -15 to -25oC | 500 | 1 |  | X
Fridge | Store DNA, buffering solutions | Maintains temperature in range +2 to +8oC | 500 | 1 |  | X
Microcentrifuge - 1.5ml tubes | Extract DNA through centrifugation | 12 x 1.5ml microtubes | 1000 | 1 |  |  | X
Microcentrifuge - plate and strips | Extract DNA through centrifugation | 2 x 96 well plates OR 2 x 8 well strips (0.2ml) | 1500 | 1 |  |  |  | X
Qubit | Check DNA quality | Qubit 4 Fluorometer, Thermo Fisher Scientific, Q33238 | 4410 | 1 |  |  |  | X
Vortex | Mix solutions/reactions | Capable of vortexing 1.5ml tubes | 466 | 2 |  |  | X | X
Thermal Cycler | PCR | Ability to repeatedly cycle through pre-set temperatures for a defined period of time | 4000 | 1 |  |  |  | X
Sequencer | Sequence DNA | Minion mk1b sequencer, Oxford Nanopore | 1000 | 1 |  |  |  | X
Laptop | Store and process sequence information | 1 Tb SSD, Nvidia GPU (16Gb RAM), i7 or equivalent processor, 16 Gb RAM | 3000 | 1 |  |  |  | X
Storage Drive | Strorage of experimental data | 5Tb HDD or similar space on network | 200 | 1 |  |  |  | X
Hood | Contained area to minimise contamination | Growing tents in same room or separate rooms | 120 | 3 |  | X | X | X
Electrophoresis Tank | Space for gel to set and be run | 16 wells minimum | 1000 | 1 |  |  |  | X
Power pack | Provides voltage for running a gel | 100-300V charge | 750 | 1 |  |  |  | X
Gel Imaging | QC documentation of amplification steps | Visible bands on small gels | 1100 | 1 |  |  |  | X
Magnet (plate) | Retention of magnetic beads | 96-well plate magnet, Cat 12027, Thermo Fisher Scientific | 1092 | 1 |  |  |  | X
Magnet (tubes) | Retention of magnetic beads | 1.5 - 2ml tube magnet, Cat#12321D, Thermo Fisher Scientific | 785 | 1 |  |  |  | X
P20 Multichannel Pipette | Transfer of liquids | Min 8-channel with LTS | 1200 | 2 |  |  | X | X
P200 Multichannel Pipette | Transfer of liquids | Min 8-channel with LTS | 1200 | 2 |  |  | X | X
Cold Block (tubes) | Maintains consumables / samples at cold temperatures | 24 well cold block for tubes | 45 | 1 |  |  | X
Cold Block (plates) | Maintains consumables / samples at cold temperatures | 96-well plate cold block | 45 | 1 |  |  |  | X
1 Preparation of all master mixes free from any DNA / RNA contaminants
2 Extraction of DNA from samples and preparation for SWGA and PCR reactions
3 PCR amplification and library preparation for sequencing